AGENDA NOTES

56th   MEETING

TAMIL NADU STATE COASTAL ZONE

MANAGEMENT AUTHORITY

Date:  29.01.2010                             		  Venue: PWD Conference Hall

Time: 03.30 P.M.	5th Floor, New Building,      Secretariat, Chennai –

INDEX

| Agenda No. | Description | Page No. |
| --- | --- | --- |
| 01 | Confirmation of the minutes of the 55th meeting held on 11.12.2009 | 01 |
| 02 | The action taken on the decisions of the 55th meeting of the Authority held on 11.12.2009 | 08 |
| 03 | Construction of Fish Landing Centre with infrastructure facilities at Uvari village, Radhapuram Taluk, Tirunelveli district proposed by Fisheries Department., Government of TamilNadu. | 10 |
| 04 | Construction of Fish Landing Centre with infrastructure facilities at Ennore Mughathuvarakuppam, Kattivakkam village, Tiruvallure district proposed by Fisheries Department., Government of Tamil Nadu. | 12 |
| 05 | Construction of Deficient OTM (other than Married men) Administrative building at Mullakadu village, Thoothukkudi district proposed by Indian Coast Guard Service, Harbour Estate, Thoothukkudi | 14 |
| 06 | Construction of Sewage treatment plants at Nagore and Nagapattinam together with outfall pipelines proposed by the Nagapattinam Municipality, Nagapattinam. | 16 |
| 07 | Construction of Ice Plant at S.No. 16 of Arangamkuppam, Pulicat village, Ponneri taluk, Tiruvallur district proposed by the Rotary International Tsunami Relief Committee. | 18 |
| 08 | Construction of concrete corridor for the existing Ammonia unloading Pipelines, replacement of section of pipeline and revamping of the multi effect desalination plant reject outfall pipeline at Ennore proposed by M/s. Coramandel International Limited, Ennore, Chennai | 19 |
| 09 | Construction of a Resort at Muthukadu Village, Chengalpattu taluk, Kancheepuram district by M/s. Kaiser Surya Samudra Resorts Pvt. Ltd., Chennai | 21 |
| 10 | Construction of a beach resort at S.F. No. 60pt, 61pt, 62, 63, 64pt, 66pt, 67pt & 68pt of Panichamedu village, Tindivanam taluk, Villupuram district proposed by M/s. Parabola Hotels (P) Limited., Adyar, Chennai | 22 |
| 11 | Construction of intake, outfall pipelines and pump house facilites proposed by M/s. Nagai Power Private Limited, Hyderabad. | 24 |

AGENDA NOTES FOR THE 56th MEETING OF

THE TAMIL NADU STATE COASTAL ZONE MANAGEMENT AUTHORITY

Date & Time:

29.01.2010 – 03.30 P.M. 				Venue: PWD Conference Hall

5th Floor, New Building,      Secretariat, Chennai – 9

# AGENDA ITEM NO.01:	Confirmation of the minutes of the 55th meeting of the Tamil Nadu State Coastal Zone Management Authority held on 11.12.2010.

The 55th meeting of the Tamil Nadu State Coastal Zone Management Authority was held on 11.12.2009 and the minutes were communicated in letter no.P1/1578/2005 dated 24.12.2009 of Director of Environment.   It may be confirmed.

.2.

MINUTES OF THE 55th MEETING OF THE TAMIL NADU STATE COASTAL ZONE MANAGEMENT AUTHORITY HELD ON 11.12.2009

The list of participants of the meeting is given in the Annexure.

AGENDA ITEM NO.1	Confirmation of the Minutes of the 54th    meeting of the Tamil Nadu State Coastal Zone Management Authority held on 28.10.2009.

The minutes of the 54th meeting of the Tamil Nadu State Coastal Zone Management Authority held on 28.10.2009 communicated in Letter No.P1/1578/2005 dated  05.11.2009 of the Director of Environment, was confirmed.

AGENDA ITEM NO.2	Report on the follow up action taken in respect of decisions taken during the 54th meeting of the TNSCZMA.

The Chairman and the Member Secretary briefed the members about the action taken by the Government and  Department of Environment respectively, on the decisions taken during the 54th  meeting of the Tamil Nadu State Coastal Zone Management authority held on 28.10.2009.

AGENDA ITEM NO.03 	Construction of Ice Plant at S.No. 16 of  Arangamkuppam, Pulicat village,  Ponneri taluk, Tiruvallur district proposed by the Rotary International Tsunami Relief Committee.

The Authority resolved to request the applicant to furnish the following details for taking further action on the project.

- A detailed Environment Impact Assessment report on handling of Ammonia in the proposed Ice Plant covering all the sources for possible ammonia leakage.  The report shall also include the probable impact on the Ice Plant, on the occurrence of disaster, if any, due to accident / natural calamities.

- A detailed  Environment Management Plan along with Disaster Management Plan containing the measures to mitigate the possible adverse impacts on the handling of Ammonia/ Ice Plant and also on the occurrence of any accident / disaster.  The  report should cover the systems/designs to be provided, action plan to be taken,  measures to be adopted on the event of such possible adverse incidents.

.3.

AGENDA ITEM NO.04 	Construction of additional school building at Korampallam  Part-II, Athimarapatti village panchayat, Thoothukkudi taluk, Thoothukkudi district proposed by Thiru P. Jeevan Jacob Rajendran, Thoothukkudi.

The Authority resolved to clear the proposal for the construction of additional school building subject to the following specific conditions.

- There should not be any ground water extraction in CRZ

- Untreated sewage should not be let out in the CRZ

- Proper arrangements should be made for the proper disposal of solid wastes generated in the project areas.

AGENDA ITEM NO.05 	Construction of Edible Oil Transit Storage Tank Terminal in Chennai Port Area proposed by M/s. Integrated Service Point Private Limited, Chennai

The Authority resolved to clear the proposal for the construction of Edible Oil Transit Storage Tank Terminal subject to the following specific conditions.

- There should not be any extraction of ground water in CRZ.

- The project activity should not affect the coastal ecosystem including marine flora and fauna.

- The construction of storage tanks shall satisfy the prescribed standard norms.

- Any further activity should be carried out in the above site, only with the prior approval of the competent authorities.

- The storage tanks should be used for the storage of edible oil only as proposed.

- Appropriate facility should be created for the collection of solid and liquid waste, if any, and their safe disposal should be ensured at the storage location and as well as transit points.

.4.

AGENDA ITEM:06 	Setting up of stand-by off-shore intake and outfall pipelines in connection with 100 MLD Desalination Plant and allied activities at Kattupalli Village, Ponneri Taluk, Tiruvallur district proposed by M/s. Chennai Water Desalination Limited, Chennai.

As the discharge of brine at 200mts from the HTL will lead to the increase of salinity level along the coast, the Authority resolved to recommend the proposal for the construction of Stand-by off-shore intake and outfall pipelines, to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

- The Outfall point for the discharge of brine should be located beyond 300mts from the HTL instead of 200mts from HTL indicated in the proposal. The applicant shall  redesign the outfall pipelines accordingly, so as to prevent the increase of salinity level along the coast.

- The applicant should follow all other terms and conditions, specified already in the Environmental Clearance issued in respect of their original proposal, with out any omission or deviation.

AGENDA ITEM NO.07	Setting up of a  resort at S.F. No.92/3B1 pt, 92/1B1 Pt and 93/3A pt of Thiruvidanthai village, Chengalpattu taluk, Kancheepuram district proposed by M/s. Nest Hotels and Resorts (Kodaikanal) Private Ltd.,Kodaikanal.

The Authority resolved to recommend the proposal for the construction of a resort to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

- There should not be any ground water extraction in CRZ.

- Waste water should be treated with  STP.

- Proper arrangements should be made for the disposal of solid wastes generated in the project areas.

- The overall height of the building shall not exceed 9 mts and there should not be more than two floors (Ground + First).  The FSI shall not  exceed 0.33.

.5.

AGENDA ITEM NO.08 	Construction of coal conveyor from coal jetty and pipelines of cooling  water intake and outfall at Vanagiri village, Sirkali taluk, Nagapattinam district proposed by M/s. PEL Power Limited, Hyderabad.

The Authority resolved to recommend the proposal for the construction of coal conveyor from coal jetty and pipelines of cooling  water intake and outfall to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

a)	A system shall be evolved for a close and continuous monitoring during installation phase and post operation phase under the guidance of Tamil Nadu Pollution Control Board.

b)	The unit shall not discharge any trade effluent /sewage into sea.

c)	A long term agreement shall be entered with a leading environmental agencies such as NIOT or IOM Anna University  or CAS in Marine Biology, Annamalai University to assess and monitor the impacts, to carry out research in minimizing the damages, to formulate and implement species recovery programmes, if required.

d)	It should be ensured that the temperature and the salinity level of discharged brine shall not exceed that of standard prescribed  norms.

e) 	All statutory clearances should be obtained before commencing the activities.

f) 	The applicant should  apply for the setting up of Coal  Jetty separately, as assured by them and get prior clearance under CRZ Notification 1991.

AGENDA ITEM NO.09 	Construction of Eco-restoration Park at Adyar Creek in Chennai proposed by M/s. Adyar Poonga Trust, Chennai.

The Authority resolved to recommend the proposal for the construction of eco-restoration park to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

- There should not be any permanent construction in CRZ Areas.

- There should not be any ground water extraction in CRZ

- Proper arrangements should be made for the proper disposal of solid wastes generated in the project areas.

.6.

- As the ICMAM, IIT has already surveyed the project area and designed an eco-restoration and management plan., they may be consulted and their projections/views may be shared while formulating and executing the eco-restoration.

Additional AGENDA ITEM NO.1 	Construction of Deep water draft Port at Vettaikaraniruppu, Kilvelur Taluk, Nagapattinam district proposed by M/s. TRIDEM Port and Power Company Private Limited, Chennai

The Authority resolved to recommend the proposal for the construction of Deep water draft port to Ministry of Environment and Forests, Government of India subject to the following specific conditions:

a)	A system shall be evolved for a close and continuous monitoring during installation phase and post operation phase under the guidance of Tamil Nadu Pollution Control Board.

b)	Continuous monitoring should be carried out to ascertain the occurrence of  coastal erosion / coastal accretion  due to the dredging / dumping of dredged materials in the low lying coastal areas and if so, its extent of implication and the steps require to prevent erosion, mitigate the adverse impacts etc.,

c)	The unit should not discharge any trade effluent /sewage into sea.

d)	A long term agreement shall be entered with a leading environmental agencies such as NIOT or IOM Anna University  or CAS in Marine Biology, Annamalai University to assess and monitor the impacts, to carry out research in minimizing the damages, to formulate and implement species recovery programmes.

e)	The unit shall adopt at least 3 nearby villages for providing infrastructure facilities for welfare of the fisherman community.

f)	The applicant should locate 1820 MW coal fired thermal Power project and 150 MW coal fired thermal Power Project outside CRZ, as assured and prior Clearance under  CRZ Notification 1991, should be obtained for their proposed Pipe lines, Coal conveyors between the Power Plant and Captive Port after the finalization of location  of Power Plant outside CRZ.

.7.

g) Necessary NOCs shall be obtained from the Department of Forests with reference to the existing plantations in the port areas and also on Turtles nesting.  A separate long term programme with the assistance of Forest Department and CAS Marine Biology, Annamalai University to be formulated and implemented for the conservation of Turtles.  The applicant shall allocate sufficient financial assistance for the implementation of the said scheme and to ensure the active participation of Forest Department while implementing the scheme.

Sd/-xxxxx						Sd/- xxxxx

Thiru T.S. Srinivasamurthy., I.F.S.			Thiru Debendranath Sarangi. IAS.

Member Secretary, TNSCZMA and		Chairman, TNSCZMA and

Director, Dept. of Environment,			Principal Secretary to Government,

Chennai -15	Environment & Forests Department

Chennai – 9

.8.

AGENDA ITEM NO.02:	The action taken on the decisions of 55th  meeting of the authority held on 11.12.2009  are given below:

| SI.No | Description of proposals | Action taken |
| --- | --- | --- |
| 01 | Construction of Ice Plant at S.No. 16 of Arangamkuppam, Pulicat village, Ponneri taluk, Tiruvallur district proposed by the Rotary International Tsunami Relief Committee. | As resolved further details have been called for from the applicant in lr. No. P1/1835/2009 dated 24.12.2009. The applicant has furnished reports in letter dated 18.01.2010 and the reports are placed for the consideration of the Authority vide Agenda item No. 7. |
| 02 | Construction of additional school building at Korampallam Part-II, Athimarapatti village panchayat, Thoothukkudi taluk, Thoothukkudi district proposed by Thiru P. Jeevan Jacob Rajendran, Thoothukkudi. | As resolved, Clearance under CRZ Notification 1991, has been issued in proceedings No.1329/2009/P1 dated 24.12.2009. |
| 03 | Construction of Edible Oil Transit Storage Tank Terminal in Chennai Port Area proposed by M/s. Integrated Service Point Private Limited, Chennai. | As resolved, Clearance under CRZ Notification 1991, has been issued in pros. No. 2159/2009/P1 dated 24.12.2009. |
| 04 | Setting up of stand-by off-shore intake and outfall pipelines in connection with 100 MLD Desalination Plant and allied activities at Kattupalli Village,Tiruvallur dt., proposed by M/s. Chennai Water Desalination Limited, Chennai | As resolved the proposal has been sent to Environment and Forests Department, Government of Tamil Nadu in letter No.P1/2076/2009 dated 12.01.2010 so as to forward the same to Government of India. |
| 05 | Setting up of a resort at S.F. No.92/3B1 pt, 92/1B1 Pt and 93/3A pt of Thiruvidanthai village, Chengalpattu taluk, Kancheepuram district proposed by M/s. Nest Hotels and Resorts (Kodaikanal) Private Ltd.,Kodaikanal | As resolved the proposal has been sent to Environment and Forests Department, Government of Tamil Nadu in letter No.P1/1992./2009 dated 24.12.2009 so as to forward the same to Govt. of India. |

.9.

| 06 | Construction of coal conveyor from coal jetty and pipelines of cooling water intake and outfall at Vanagiri village, Sirkali taluk, Nagapattinam district proposed by M/s. PEL Power Limited, Hyderabad. | As resolved the proposal has been sent to Environment and Forests Department, Government of Tamil Nadu in letter No.P1/2306/2009 dated 24.12.2009 so as to forward the same to Government of India |
| --- | --- | --- |
| 07 | Construction of Eco-restoration Park at Adyar Creek in Chennai proposed by M/s. Adyar Poonga Trust, Chennai | As resolved the proposal has been sent to Environment and Forests Department, Government of Tamil Nadu in letter No.P1/1600/2009 dated 24.12.2009 so as to forward the same to Government of India |
| 08 | Construction of Deep water draft Port at Vettaikaraniruppu, Kilvelur Taluk, Nagapattinam district proposed by M/s. TRIDEM Port and Power Company Private Limited, Chennai. | As resolved the proposal has been sent to Environment and Forests Department, Government of Tamil Nadu in letter No.P1/1371/2009 dated 24.12.2009 so as to forward the same to Government of India |

.10.

AGENDA ITEM NO.03	Construction of Fish Landing Centre with infrastructure facilities at Uvari village, Radhapuram Taluk,  Tirunelveli  district proposed by Fisheries Department., Government of TamilNadu.

| 1. | Name of the Project | Construction of Fish Landing Centre with infrastructure facilities |
| --- | --- | --- |
| 2. | Name of the Applicant | Commissioner of Fisheries, Tsunami Project Implementation Unit., Nandanam, Chennai - 600 035. |
| 3. | Location of the Project Village/Town, Taluk, Dt. | Uvari village, Radhapuram Taluk, Tirunelveli district |
| 4. | R.S. No.s | Unsurveyed land |
| 5. | Extent of land | 1.030 Hectares |
| 6. | CRZ Classification | CRZ I (ii) inter tidal zone and CRZ-III |
| 7. | Project cost | Rs.4.04 crores. |
| 8. | Activities proposed | Construction of fish landing centre with the following infrastructure facilities: Slipway, Auction Hall & Market, Weighing Platform, Administrative Office, Locker room, Utility/Electrical room, Net mending shed, Fish Drying Platform, Security room, Chill Room facility, Over head tank, Security room, Sopping & Fish Selling room, Parking area, Under ground sump, Solid Waste Collection area, Banking/ Co-operative society, Sanitary / Toilet facility, Sewage Treatment facility, Approach & Internal roads, Water supply, Electrical supply and lighting, compound wall. |
| 9. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per Para 6(2) – CRZ-I of the CRZ Notification 1991, facilities those directly related water front or directly needing foreshore facilities can be allowed in CRZ-I(ii) areas and as per para 6 (2) CRZ-III (i) of the CRZ Notification 1991, permissible activities and facilities essential for such activities can be allowed in CRZ – III. |

.11.

| 10. | The details of recommendations of DCZMA | The District Coastal Zone Management Authority, Tirunelveli district in the meeting held on 05.08.2009 has stated that no construction activities are permitted in CRZ-III and resolved to recommend the proposal to State Coastal Zone Management Authority as the Government have already sanctioned the fund and the district administration has also allotted the land. |
| --- | --- | --- |
| 11. | Any other details | TWAD Board will supply the required fresh water of 59.00 KLD per day. It is proposed to extract 18.285 KLD of sea water per day for fish washing and market cleaning. It is indicated that the quantity of effluent generation and sewage from the project shall be 20.400 KLD and 40.500 KLD respectively for which combined treatment plant comprising of septic tank and Anaerobic filters are proposed. The treated effluent will be utilized for gardening purpose which is proposed to be developed in the project site. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | National Coastal Zone Management Authority. As per para 3 (2) (ii) of the CRZ Notification 1991, the above activity requires clearance from the Ministry of Environment and Forests, Govt. of India. |

The Authority may consider.

.12.

AGENDA ITEM NO.04	Construction of Fish Landing Centre with infrastructure facilities at Ennore Mughathuvarakuppam, Kattivakkam village, Tiruvallure district proposed by Fisheries Department., Government of Tamil Nadu.

| 1. | Name of the Project | Construction of Fish Landing Centre with infrastructure facilities |
| --- | --- | --- |
| 2. | Name of the Applicant | Commissioner of Fisheries, Tsunami Project Implementation Unit., Nandhanam, Chennai 600 035. |
| 3. | Location of the Project Village/Town, Taluk, Dt. | Ennore Mughathuvarakuppam, Kattivakkam village, Tiruvallure district |
| 4. | R.S. No.s | S.F. No. 15 of Kattivakkam village |
| 5. | Extent of land | 1.338 Hectares |
| 6. | CRZ Classification | CRZ I (ii) inter tidal zone and CRZ-III |
| 7. | Project cost | Rs.5.45 crores. |
| 8. | Activities proposed | Construction of fish landing centre with the following infrastructure facilities: Suitable Berthing facilities, Auction Hall & Market, Weighing Platform, Buyers Waiting Hall, Administrative Office, Cafeteria, Utility/Electrical room, Net mending shed, Fish Drying Platform, Over head tank, Green/open space, Security room, Parking area, Under ground sump, Solid Waste Collection area, Sanitary / Toilet facility, Sewage Treatment facility, Approach & Internal roads, Water supply, Electrical supply & lighting, compound wall. |
| 9. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per Para 6(2) – CRZ-I of the CRZ Notification 1991, facilities those directly related water front or directly needing foreshore facilities can be allowed in CRZ-I(ii) areas and as per CRZ-III (i) of the CRZ Notification 1991, permissible activities and facilities essential for such activities can be allowed in CRZ – III areas. |

.13.

| 10. | The details of recommendations of DCZMA | The District Coastal Zone Management Authority of CMDA areas in the meeting held on 10.11.2008 has resolved to recommend the proposal to State Coastal Zone Management Authority. |
| --- | --- | --- |
| 11. | Any other details | It is proposed to obtain 41.40 KLD of fresh water from the TWAD Board. It is proposed to extract 13.225 KLD of sea water per day for fish washing and market cleaning. It is indicated that the quantity of effluent generation shall be 15.10 KLD for which combined treatment plant comprising of se ptic tank and Anaerobic filters are proposed. The activity includes back water river dredging and the capital dredging is estimated to an extent of 457835.90 cum. The dredged materials will be dumped behind the wharf walls and within the site area. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | National Coastal Zone Management Authority. As per para 3 (2) (ii) of the CRZ Notification 1991, the above activity requires clearance from the Ministry of Environment and Forests, Government of India. Further, as per para 3(2) (v) all activities with investment of five crore rupees or more require environmental clearance from Ministry of Environment, Government of India. |

The Authority may consider.

.14.

AGENDA ITEM NO.05 	Construction of Deficient OTM (other than Married men) Administrative building at Mullakadu village, Thoothukkudi district proposed  by Indian Coast Guard Service, Harbour Estate, Thoothukkudi

| 1. | Name of the Project | Construction of Deficient OTM (other than Married men) Administrative building |
| --- | --- | --- |
| 2. | Name of the Applicant | Indian Coast Guard Service, Harbour Estate, Thoothukkudi 628 004 |
| 3. | Location of the Project Village/Town, Taluk, Dt. | Mullakadu village, Thoothukkudi taluk, Thoothukkudi district. |
| 4. | R.S. No.s | Un-surveyed land. |
| 5. | Extent of land | 5 acres. |
| 6. | CRZ Classification | CRZ- II on the seaward side. |
| 7. | Project cost | Rs. 4.98 crores. |
| 8. | Activities proposed | Construction of a administrative block with Ground plus 3 floors. The total area of construction is in 540 sq.mts, each, with parking facilities. The Commandant Udhal Singh, Commanding Officer, Indian Coast Guard Service, Thoothukkudi has informed in lr, No.138/2 dated 14th September 2009, that some of their main duties are search and rescue / providing assistance to fishermen while in the distress and initiate action in the case of oil spill at sea. The duties of Coast Guard falls in line with “Coastal Police Station” and the organization is looking after the interest of both State and Central Governments. |

.15.

| 9. | The details of recommendations of DCZMA | The District Coastal Zone Management Authority, Thoothukkudi district in the meeting held on 16.10.2008 has resolved to refer the proposal to State Coastal Zone Management Authority. |
| --- | --- | --- |
| 10. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per CRZ Notification 1991, constructions can be possible in CRZ II only on the landward side of the existing authorized road/authorized structures. However Ministry of Environment and Forests, Government of India has issued clarifications in lr. No.11-83/2005-IA-III dated 3rd December 2008, that the setting up of the Coastal Police Stations under CRZ may be treated as “an activity requires water front and foreshore facilities” and process accordingly. |
| 11. | Any other details | The applicant has informed that the water will be procured from the Tuticorin Port Trust. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | State Coastal Zone Management Authority. Ministry of Environment and Forests, Government of India has issued clarifications in lr. No.11-83/2005-IA-III dated 3rd December 2008 that the projects of coastal police stations can be considered at the State Level with investment upto Rs.5.00 crores. |

The Authority may consider.

.16.

AGENDA ITEM NO.06 	Construction of Sewage treatment plants at Nagore and Nagapattinam together with out fall pipelines proposed by the Nagapattinam Municipality, Nagapattinam.

| 1. | Name of the Project | Construction of Sewage treatment plants at Nagore and Nagapattinam together with out fall pipelines |
| --- | --- | --- |
| 2. | Name of the Applicant | The Municipal Commissioner. Nagapattinam Municipality |
| 3. | Location of the Project Village/Town, Taluk, Dt. | Nagapattinam and Nagore towns, Nagapattinam district, Tamil Nadu |
| 4. | R.S. No.s | R.S. Nos. 1560 pt - Nagapattinam R.S. No. 965/pt and 966 pt - Nagore |
| 5. | Extent of land | Nagapattinam – 5 acres Nagore - 2 acres |
| 6. | CRZ Classification | CRZ-I(ii) , CRZ – II and C RZ III |
| 7. | Project cost | Rs. 48.95 crores. |
| 8. | Activities proposed | Construction of STP one each at Nagore and Nagapattinam. Sewer system to a length of about 1200 mts Pumping station Pumping main of size 600mm dia D1 Pipes for 300 mts. Elevated pipe carrying bridge Outfall pipe line from STP @ Nagai of size 500mm dia RCC Pipes for 370 mts. Out fall pie line from STP @ Nagore of size 400 mm dia RCC Pipes for 300 mts. |

.17.

| 9. | The details of recommendations of DCZMA | The District Coastal Zone Management Authority, Nagapattinam district in the meeting held on 11.12.2007 has resolved to recommend the proposal to State Coastal Zone Management Authority. |
| --- | --- | --- |
| 10. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per Para 6 (2) CRZ-I and para 6 (2) CRZ-III (i) of the CRZ Notification 1991, facilities those directly related water front or directly needing foreshore facilities can be allowed in CRZ-I(ii) areas and facilities essential for such activities can be allowed in CRZ-III respectively. |
| 11. | Any other details | The quantity of sludge expected to be generated is 1158 kg per day and this would be dried in the sludge drying beds and disposed of as manure. Part of the soil from excavation would be disposed of in the authorized low-lying areas in the Municipality where water is stagnating now. After treatment the water will be let off into vettar river at Nagore and Kuduvaiyar river at Nagappattinam. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | National Coastal Zone Management Authority. As per para 3 (2) (ii) of the CRZ Notification 1991, the above activity requires clearance from the Ministry of Environment and Forests, Government of India. Further as per para 3 (2) (v) of CRZ Notification 1991, the above activity requires clearance from the Ministry of Environment and Forests, GoI as the project cost is more than five crores. |

The Authority may consider.

.18.

AGENDA ITEM NO.07 	Construction of Ice Plant at S.No. 16 of  Arangamkuppam, Pulicat village,  Ponneri taluk, Tiruvallur district proposed by the Rotary International Tsunami Relief Committee.

The Chairman, Rotary International Tsunami Relief Committee, Chennai has proposed to construct an Ice Plant at Pulicat for the local traditional inhabitants belonging to 14 fishermen commune.  The capacity of Ice plant is 10 tons per day.   Land was allotted by the Government of Tamil Nadu on free of cost.  The water requirement is 10 KLD for processing and utilities and the applicant has informed that the said water will  be provided by the Pulicat village panchayat. Total area of the site is 570.40 sq.mts. The Civil work involves Construction of a ground floor building of 185.217 sq.mts.  F.S.I. is 0.289.  The site falls in CRZ III category.

2) The subject has been placed before the 55th meeting of the Authority held on 11.12.2009 and the Authority has resolved to obtain the following details.

- A detailed Environment Impact Assessment report on handling of Ammonia in the proposed Ice Plant covering all the sources for possible ammonia leakage.  The report shall also include the probable impact on the Ice Plant, on the occurrence of disaster, if any, due to accident / natural calamities.

- A detailed  Environment Management Plan along with Disaster Management Plan containing the measures to mitigate the possible adverse impacts on the handling of Ammonia/ Ice Plant and also on the occurrence of any accident / disaster.  The  report should cover the systems/designs to be provided, action plan to be taken,  measures to be adopted on the event of such possible adverse incidents.

3) The applicant has furnished the above details in letter dated 18.01.2010 and the copies of same are enclosed herewith.

4) As per CRZ Notification 1991, vide para 2 (i) new industries those directly related to water front or directly needing foreshore facilities can only be allowed in CRZ and vide para 6 (2) CRZ-III (i)   constructions can be allowed only for facilities essential for permissible activities in CRZ III areas.

The Authority may consider.

.19.

AGENDA ITEM NO.08	Construction of concrete corridor for the existing Ammonia unloading Pipelines, replacement of section of pipeline and revamping of the multi effect desalination plant reject outfall pipeline at Ennore  proposed by M/s. Coramandel International Limited, Ennore, Chennai

| 1. | Name of the Project | Construction of concrete corridor for the existing Ammonia unloading Pipelines, replacement of section of pipeline and revamping of the multi effect desalination plant reject outfall pipeline |
| --- | --- | --- |
| 2. | Name of the Applicant | M/s. Coramandel International Limited, P.B.No.2., Express High Way road., Ennore, Chennai 600 057. |
| 3. | Location of the Project Village/Town Taluk, District | Kattivakkam village,Ennore, Tiruvallur District. |
| 4. | R.S. No.s | S.F. No. 247 pt |
| 5. | Extent of land | --- |
| 6. | CRZ Classification | Inter tidal zone CRZ –I (ii) and CRZ –II. |
| 7. | Project cost | Rs. 4.12 crores. |
| 8. | Activities proposed | construction of concrete corridor for the existing Ammonia unloading Pipelines into the sea for a length of 35-40 mts supported by 10 piles of having 600mm dia, in two row construction with the span of 4.0 mts, and the pitch of the pile is 3.5 mts. replacement of section of pipeline and c) revamping/repairing of the multi effect desalination plant reject outfall pipeline |
| 9. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per CRZ Notification 1991, vide para 6 (2) CRZ – I in between the Low Tide Line and High Tide Line, facilities for carrying treated effluents and waste water discharges into the sea, facilities for carrying sea water for cooling purposes, oil, gas and similar pipelines and facilities essential for activities permitted under this Notification are permissible activities. |

.20.

| 10. | The details of recommendations of DCZMA | The District Coastal Zone Management Committee for CMDA aras, Chennai has discussed the subject in their meeting held on 29.12.2009 and recommended the project to SCZMA. |
| --- | --- | --- |
| 11. | Any other details | Environmental Clearance under CRZ Notification has been obtained from Ministry of Environment and Forests, Government of India in lr. No. J-17011/9/94 – IA-III dated 17.06.1994 for their existing activities. The applicant has informed that after the Tsunami the scouring on the sea was so rapid and the submerged lines were exposed to boulders and the outer 7mm thick MDPE lining was facing erosive marks. Wooden logs were put around the pipe surface to prevent damages to the skin, due to sea erosion. The applicant has, in order to provide permanent solution to the rubbing problem, proposes the above repairs / reconstructions. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | State Coastal Zone Management Authority. As per CRZ Notification 1991, vide para 6 (2) CRZ – I in between the Low Tide Line and High Tide Line, facilities for carrying treated effluents and waste water discharges into the sea, facilities for carrying sea water for cooling purposes, oil, gas and similar pipelines and facilities essential for activities permitted under this Notification are permissible activities. |

The Authority may consider.

.21.

AGENDA ITEM NO.09	Construction of a Resort at Muthukadu Village, Chengalpattu taluk, Kancheepuram district by M/s. Kaiser Surya Samudra Resorts Pvt. Ltd., Chennai

M/s. Kaiser Surya Samudra Resorts Pvt. Ltd., Chennai has submitted a proposal for the construction of a beach resort at 98/5B1, 98/5B2, 98/6A, 98/6B, 98/9A, 98/9B, 98/7 of Muthukadu Village, Chengalpattu taluk, Kancheepuram district. The subject was placed before the Authority for consideration, along with the additional details  in the 54th  meeting of the State Coastal Zone Management Authority held on 28.10.2009.

2) In the said meeting, the Authority has resolved to exclude the existing Sand dune areas from the purview of Project. To identify and to assess the extent  of sand dunes available in the project areas, the Authority resolved that a Sub committee consisting of Members of SCZMA will visit the site and report to the Authority early.

3) Accordingly a sub-committee has visited the project site and furnished a Joint Inspection Report on 15.12.2009 and the report is enclosed herewith.

4) The Sub-committee has opined as follows:

“As per the approved Coastal Zone Management Plan the above site is falling in CRZ-III areas.  As per Para 6 (2) CRZ III (i) of CRZ Notification 1991,       0 mts to 200mts from the HTL  is earmarked as “No Development Zone” in which plantation and undulating terrain referred above are situated.  Hence the applicant may be instructed to keep the areas between 0 mts – 100mts from HTL of creek as “No Development Zone” without any development.  The areas beyond 100mts of HTL from the creek has no ecological sensitive features.”

5) The Authority may consider.

.22.

AGENDA ITEM NO.10	Construction of a  beach resort at S.F. No. 60pt, 61pt, 62, 63, 64pt, 66pt, 67pt & 68pt  of Panichamedu village, Tindivanam taluk, Villupuram district proposed by M/s. Parabola Hotels (P) Limited., Adyar, Chennai

| 1. | Name of the Project | Construction of a Beach Resort |
| --- | --- | --- |
| 2. | Name of the Applicant | M/s. Parabola Hotels (P) Limited., 57/4, First street, Kamaraj Avenue, Adyar, Chennai – 600 020. |
| 3. | Location of the Project Village/Town Taluk, District | Panichamedu village, Tindivanam taluk, Villupuram district |
| 4. | R.S. No.s | S.F. No. 60pt, 61pt, 62, 63, 64pt, 66pt, 67pt & 68pt |
| 5. | Extent of land | 10.74 Ha. |
| 6. | CRZ Classification | CRZ III |
| 7. | Project cost | Rs. 33.00 crores. |
| 8. | Activities proposed | The applicant has proposed to construct Ground + First floor having 85 rooms along with Spa block, suites, villas, swimming pool and car parking. Out of 85 rooms, it is proposed to construct 54 rooms in the ground floor and 31 rooms in the First floor. Out of the total area of the project site of 1,07400 sq.mts., the applicant has proposed to construct 21418 sq.mts with the FSI of 20% (The permissible FSI is 33% of the total area). All the project areas are falling in between 200 mts and 500 mts from HTL. The Project requires 130 KLD as a maximum water demand. Water requirement after making use of recycled water is 74 KLD. Waste water will be treated in proposed STP and after tratement the waste water will be utilized for gardening purpose. |

.23.

| 9. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per para 6 (2) CRZ III (iii) development of vacant plots between 200 and 500 metres of HTL in designated areas of CRZ-III with prior approval of Ministry of Environment and Forests may be permitted for construction of hotels/beach resorts for temporary occupation of tourists/visitors. |
| --- | --- | --- |
| 10. | The details of recommendations of DCZMA | The District Coastal Zone Management Committee, Villupuram, has discussed the subject in their meeting held on 15.09.2009 and recommended the project to SCZMA. |
| 11. | Any other details | The applicant has proposed to draw water from the three proposed bore wells, which are falling outside CRZ. The Central Ground Water Authority, Ministry of Water Resources, Government of India in their order No. 21-4(158)/SECR/CGWA/2009-1035 dated 09.11.2009, has permitted the applicant for the drawal of ground water from the above three bore wells. The IRS, Anna University has duly superimposed the bore wells in the HTL map and the locations of the bore wells are outside CRZ. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | National Coastal Zone Management Authority. As per para 6 (2) CRZ III (iii) development of vacant plots between 200 and 500 metres of HTL in designated areas of CRZ-III requires prior approval of Ministry of Environment and Forests. Further, as per para 3(2) (v) all activities with investment of five crore rupees or more require environmental clearance from Ministry of Environment, Govt. of India. |

The Authority may consider.

.24.

AGENDA ITEM NO. 11	Construction of intake, outfall pipelines and pump house facilites proposed by M/s. Nagai Power Private Limited, Hyderabad.

| 1. | Name of the Project | Construction of intake, outfall pipelines and pump house facilites |
| --- | --- | --- |
| 2. | Name of the Applicant | M/s. Nagai Power Private Limited., No.6-3-1109/A/1, 3rd floor, Navabharat Chambers, Raj Bhavan Road, Somajiguda, Hyderabad 500 082. |
| 3. | Location of the Project Village/Town, Taluk, Dt. | Panangudi, Nagore, Uthama chozha puram & Okkur villages, Nagapattinam district. |
| 4. | R.S. No.s | R.S. No. 271/3 of Panangudi village (Pump hose) R.S.No. 96/E of Nagore village (pipelines) . In other villages the pipelines are falling outside CRZ. |
| 5. | Extent of land | 1.315 ha. |
| 6. | CRZ Classification | CRZ-I(ii) , CRZ III |
| 7. | Project cost | Rs.3.50 crores |
| 8. | Activities proposed | Construction of marine facilities viz., Construction of sea water intake and warm water outfall pipelines, sump and Pump house. It has been proposed to draw water from the Karaikal Port Basin and the water will be collected in a sump which will be located outside Port area but within CRZ. The pump house will pump the water to the plant. The RO plant rejects will be released into the sea about 700 mts., at 7mts water depth, through the diffusers. The outfall pipeline will be buried beneath the sea floor and in the beach. The Chief Engineer, PWD, Trichy Region and Assistant Director, Department of Fisheries issued NoCs for the establishment of the above project. |

.25.

| 9. | The details of recommendations of DCZMA | The District Coastal Zone Management Authority, Nagapattinam district in the meeting held on 24.12.2009 has resolved to recommend the proposal to State Coastal Zone Management Authority. |
| --- | --- | --- |
| 10. | Whether permitted activity as per CRZ Notification? If yes, specify the relevant rules | As per Para 6 (2) CRZ-I and para 6 (2) CRZ-III (i) of the CRZ Notification 1991, facilities those directly related to water front or directly needing foreshore facilities can be allowed in CRZ-I(ii) areas and facilities essential for such activities can be allowed in CRZ-III respectively. |
| 11. | Any other details | The above marine facilities are proposed in connection with the Proposed 2 x 150 MW coal based Power Plant at Okkur & Venkidankal villages, Kilvelur taluk, Velankudi & Periakannamangalam villages, Nagapattinam taluk, Nagapattinam district. The location of the power plant is about 12kms from the Sea and 2 kms from the Vettar river. It is proposed to erect the intake and outfall Pipelines along the Vettar river bank. The pipelines are falling in CRZ in Nagore village and in the coast and the said pipelines are falling outside CRZ in other areas. |
| 12. | Whether issue of clearance is with in the scope of SCZMA or NCZMA? Specify relevant rules | National Coastal Zone Management Authority. As per para 3 (2) (ii) of the CRZ Notification 1991, the above activity requires clearance from the Ministry of Environment and Forests, Government of India. |

The Authority may consider.

.26.

AGENDA ITEM NO:12 : ANY OTHER ISSUES WITH THE PERMISSION OF CHAIR.

Sd/- xxxxx						Sd/- xxxxx

Thiru T.S. Srinivasamurthy., I.F.S.			Thiru Debendranath Sarangi. IAS.

Member Secretary, TNSCZMA and		Chairman, TNSCZMA and Principal

Director, Dept. of Environment,			Secretary to Government,

Chennai -15	Environment & Forests Dept., Chennai – 9

MINUTES OF THE 56th MEETING OF THE TAMIL NADU STATE COASTAL ZONE MANAGEMENT AUTHORITY HELD ON 29.01.2010

AGENDA ITEM NO.1	Confirmation of the Minutes of the 55th meeting of the Tamil Nadu State Coastal Zone Management Authority held on 11.12.2009

The minutes of the 55th meeting of the Tamil Nadu State Coastal Zone Management Authority held on 11.12.2009 communicated in Letter No.P1/1578/2005 dated  24.1.2.2009 of the Director of Environment, was confirmed.

AGENDA ITEM NO.2	Report on the follow up action taken in respect of decisions taken during the 55th meeting of the TNSCZMA.

The Chairman and the Member Secretary briefed the members about the action taken by the Government and  Department of Environment respectively, on the decisions taken during the 55th  meeting of the Tamil Nadu State Coastal Zone Management authority held on 11.12.2009.

AGENDA ITEM NO.03	Construction of Fish Landing Centre with infrastructure facilities at Uvari village, Radhapuram Taluk,  Tirunelveli  district proposed by Fisheries Department., Government of TamilNadu.

AGENDA ITEM NO.04	Construction of Fish Landing Centre with infrastructure facilities at Ennore Mughathuvarakuppam, Kattivakkam village, Tiruvallure district proposed by Fisheries Department., Government of Tamil Nadu.

ADDITIONAL AGENDA	Construction of Fish Landing Centre with infrastructure

ITEM NO. 01.        facilities at Kadalur Periyakuppam village, Cheyur taluk Kancheepuram district proposed by Fisheries Department., Government of Tamil Nadu.

The Authority resolved to recommend the above three proposals to Ministry of Environment and Forests, Government of India subject to the following specific conditions:

- It should be ensured that there should not be any adverse impact on coastal eco-system due to the dredging and on the dumping of dredged materials and proper mitigation measures should be evolved.

.2.

- The Pollution load should be effectively assessed with realistic and authentic analysis and the Capacity of STP shall be designed based on the realistic analysis so that the BOD (Biological Oxygen Demand) and COD (Chemical Oxygen Demand) should be controlled within the parameters. The treated water should be properly utilized.

- Organic Waste Converter (OWC) shall be provided in such a way that the OWC should tackle the additional Pollution load, if any, in future.

- The facilities requested such as Buyers waiting hall, women SHG building, Cooling Tower, Cafeteria, Library, Compressor room, Ice Plant, Parking areas may be classified as “integral to” and “not integral to” the fish landing centres and only those facilities which are integral to the fish Landing Centres may be provided under “Service area” and those which are “not integral to” may be located outside the CRZ areas.

- No drawal of ground water in CRZ areas is permitted.  The Sources for the procurement of water shall be furnished. Adequate evidences regarding the places from where the water to be extracted, the license or approval issued by the competent authority for the extraction of said water should be obtained from the supplier and to be produced.

- Quantity of Oil spillage, their impact on environment and the mitigation measures to be taken to prevent the adverse impacts, shall be furnished in the EIA report suitably.

- Fresh studies shall be conducted to achieve the latest standards of PM 2.5 and PM 10 levels prescribed by the Government of India through their recent notification and EIA should be prepared based on the latest studies.

- Instead of using Chlorine the use of UV in the proposed STP shall be explored

- A Reject Management System for the proper disposal of RO reject shall be planned for implementation.

.3.

AGENDA ITEM NO.05 	Construction of Deficient OTM (other than Married men) Administrative building at Mullakadu village, Thoothukkudi district proposed  by Indian Coast Guard Service, Harbour Estate, Thoothukkudi

The Authority resolved to clear the proposal for the construction of Deficient OTM (other than Married men) Administrative building subject to the following specific conditions.

- There should not be any ground water extraction in CRZ

- The construction norms should be in accordance with the Town Planning rules and regulations and Planning Permission should be obtained from the Department of Town and Country Planning.

- Untreated sewage should not be let out into the CRZ areas.

- Proper arrangements should be made for the disposal of solid wastes generated in the project areas.

AGENDA ITEM NO.06 	Construction of Sewage treatment plants at Nagore and Nagapattinam together with outfall pipelines proposed by the Nagapattinam Municipality, Nagapattinam.

Regarding the Construction of Sewage treatment plants at Nagore and Nagapattinam together with outfall pipelines, the Authority is of the opinion that the treated water should not be let out into the rivers and the Authority recommended to re-utilize the treated water for gardening, cultivation etc.,  Hence the Authority resolved to request the applicant to revise the proposals accordingly and re-submit the proposals.

The discharge of water , if any, proposed to disposed into the rivers, then the details such as quantity of discharge of water, its quality, the impacts on the river due to the discharge etc., with  detailed study reports and baseline data should be provided. Detailed EIA studies based on the hydraulics of the river and the details of river flow and contents, quality, species  present therein, etc.,  with adequate base line data should be provided.

.4.

AGENDA ITEM NO.07 	Construction of Ice Plant at S.No. 16 of  Arangamkuppam, Pulicat village,  Ponneri taluk, Tiruvallur district proposed by the Rotary International Tsunami Relief Committee.

The Authority resolved to clear the proposal for the construction of Ice Plant subject to the following specific conditions.

- There should not be any ground water extraction in CRZ

- The Ammonia Extraction System, indicated in the EMP report, which facilitates safety plant operation shall be erected without fail and shall also to be maintained properly.

AGENDA ITEM NO.08	Construction of concrete corridor for the existing Ammonia unloading Pipelines, replacement of section of pipeline and revamping of the multi effect desalination plant reject outfall pipeline at Ennore  proposed by M/s. Coramandel International Limited, Ennore, Chennai

The Authority resolved to clear the proposal for the Construction of concrete corridor for the existing Ammonia unloading Pipelines, replacement of section of pipeline and revamping of the multi effect desalination plant reject outfall pipeline subject to the following specific conditions.

- The design of proposed corridor should not cause any erosion along the sea bed and the National Institute of Ocean Technology, Chennai (NIOT) may be consulted for designing, if required.

- The construction materials and design of pipelines should be in accordance with the standard specification and norms.

- The unit may consider laying the entire stretch of unloading pipeline with new pipes instead of changing a section of pipeline and with provision to measure NH3 in the pumping point (sea) and land fall point.

- A monitoring system should be evolved to prevent any possible leakage of ammonia while unloading, in consultation with the Tamil Nadu Pollution Control Board.

- The proponent should approach the concerned department for the repair of existing  out fall pipeline and obtain their permission before carrying out the work.

.5.

AGENDA ITEM NO.09	Construction of a Resort at Muthukadu Village, Chengalpattu taluk, Kancheepuram district by M/s. Kaiser Surya Samudra Resorts Pvt. Ltd., Chennai

The Authority resolved to recommend the proposal for the construction of a resort to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

- Flattening of sand dunes shall not be carried out

- There should not be any construction in the No Development Zone i.e, in between 0 mts to 100mts from the HTL of creek.

- There should not be any ground water extraction in CRZ.

- Waste water should be treated with  STP.

- Proper arrangements should be made for the disposal of solid wastes generated in the project areas by providing Organic Waste Converter (OWC)

- NoC from Tamil Nadu Pollution Control Board should be obtained.

- The unit should obtain planning permission from the Department of Town and Country Planning.

- The overall height of the building shall not exceed 9 mts and there should not be more than two floors (Ground + First).  The FSI shall not  exceed 0.33.

AGENDA ITEM NO.10	Construction of a  beach resort at S.F. No. 60pt, 61pt, 62, 63, 64pt, 66pt, 67pt & 68pt  of Panichamedu village, Tindivanam taluk, Villupuram district proposed by M/s. Parabola Hotels (P) Limited., Adyar, Chennai

The Authority resolved to recommend the proposal for the construction of a beach resort to Ministry of Environment and Forests, Government of India, subject to the following specific conditions.

- Flattening of sand dunes shall not be carried out

- There should not be any construction in the No Development Zone i.e, in between 0 mts to 200mts from the HTL of sea.

.6.

- There should not be any ground water extraction in CRZ.

- The water of Swimming Pool should be considered as trade effluent and the  capacity of STP /ETP shall be designed to treat the swimming pool water in addition to the existing sewage water.

- A system for the mode of disposal of Toilet Waste should be evolved during implementation period.

- The quantity of sludge and the mode of disposal shall be suitably indicated.

- In the EPT design it has been indicated that only settling tank will be provided. As the CoD level will be high in Laundry waste, the EPT design should be revised suitably.

- Proper arrangements should be made for the disposal of solid wastes generated in the project areas by providing Organic Waste Converter (OWC)

- Noc from Tamil Nadu Pollution Control Board should be obtained.

- The unit should obtain planning permission from the Department of Town and Country Planning.

- The overall height of the building shall not exceed 9 mts and there should not be more than two floors (Ground + First).  The FSI shall not  exceed 0.33.

- Adequate allocation of funds should be made for the Environmental Protection Measures and the allocation should not be less than 5% on the total cost of the project.

.7.

AGENDA ITEM NO. 11	Construction of intake, outfall pipelines and pump house facilites proposed by M/s. Nagai Power Private Limited, Hyderabad.

The Authority resolved to recommend the proposal for the Construction of intake, outfall pipelines and pump house facilities to Ministry of Environment and Forests, Government of India subject to the following specific conditions:

a)	A system shall be evolved for a close and continuous monitoring during installation phase and post operation phase under the guidance of Tamil Nadu Pollution Control Board.

b)	The unit should not discharge any trade effluent /sewage into sea.

c)	A long term agreement shall be entered with a reputed environmental institution such as National Institute of Ocean Technology (NIOT),  Pallilkaranai, Chennai,/ Institute of Ocean Management (IOM), Anna University, Chennai/ CAS in Marine Biology, Annamalai University, Parangipettai, to periodically assess and monitor the impact of operation of the facility on the marine environment for taking preventive action by the project proponent.

ADDITIONAL

AGENDA ITEM NO.2	Re-construction and modernization of Nagapattinam Fishing Harbour, Nagapattinam district proposed by Fisheries Department., Government of Tamil Nadu.

The project area is falling away from the existing Port area.  However as the project land is under the possession of Department of Fisheries, the Authority resolved to recommend the proposal for the Re-construction and modernization of Nagapattinam Fishing Harbour, Nagapattinam district to Ministry of Environment and Forests, Government of India subject to the following specific conditions:

- Fresh studies shall be conducted to achieve the latest standards of PM 2.5 and PM 10 levels prescribed by the Government of India through their recent notification and EIA should be prepared based on the latest studies.

- A system shall be evolved for a close and continuous monitoring during installation phase and operation phase.

.8.

- The probable Bed load on the river should be arrived by various modeling studies. Based on the study reports the periodicity of de-silting, extent of dredging, composition of dredged materials and a suitable methodology for the disposal of such dredging materials shall be evolved out.

- A Reject Management System for the proper disposal of RO reject shall be planned for implementation.

- The Pollution load should be effectively assessed with realistic and authentic analysis and the Capacity of STP shall be designed based on the realistic analysis so that the BOD (Biological Oxygen Demand) and COD (Chemical Oxygen Demand) should be controlled within the parameters. The treated water should be properly utilized.

- Quantity of Oil spillage, their impact on environment and the mitigation measures to be taken to prevent the adverse impacts, shall be furnished in the EIA report suitably.

- Instead of using Chlorine the use of UV shall be explored in the proposed STP.

- Based on the number of people visiting the Fish Landing Centre, Number of fishermen etc., the toilet facilities shall be provided with proper disposing system.

- No drawal of ground water in CRZ areas is permitted.  The Sources for the procurement of water shall be furnished. Adequate evidences regarding the places from where the water to be extracted, the license or approval issued by the competent authority for the extraction of said water should be obtained from the supplier and to be produced.

Sd/-xxxxx						Sd/- xxxx

Thiru T.S. Srinivasamurthy., I.F.S.			Thiru Debendranath Sarangi. IAS.

Member Secretary, TNSCZMA and		Chairman, TNSCZMA and

Director, Dept. of Environment,			Principal Secretary to Government,

Chennai -15	Environment & Forests Department

Chennai – 9